Features

- Displays Dissolved Salt (temperature compensated) in ppm

- Displays Resistivity in Ω/cm Compensated to 25°C

- Displays Resistivity in Ω/cm at Solution Temperature

- Displays Conductivity in µS/cm Compensated to 25°C

- Displays Total Dissolved Solids ppm TDS

- Displays Water Temperature in °C

- Stopwatch, Lap Timer (new in Mk2)(disables auto off function)

- Auto Range

- Auto Off (user adjustable, New in Mk2)

- Probe connected with 1m cable

- Compared to the original Ramzonics salt meter the Mk 2 is:

  - 5 times faster reading,

  - Double the accuracy and

  - 2.5 times more range that the original meter.Can measure 2ppm to 80,000ppm (Dead Sea)

  - Suitable for educational use.

- “Oops” factory restore function.

Specifications & Calibration

Specifications

- Salt Solution Absolute Zero Value +/- 20 ppm.

- Salt Solution Scale Value  Reference Calibration Value (10,000)

- For Solutions of 1,000, 2,000, 5,000, 10,000, 20,000, 50,000 ppm

- +/- 3% of Reading. (D/A, A/D Converter errors).

- Temperature

- Absolute Temperature Factory Calibrated to +/- 0.2 at 25°C.

- Scale factor +/- 2% -20°C to +120°C

- Stopwatch Function

- Unadjusted Frequency Tolerance:± 0.5%; Frequency Stability:± 0.2%  (+/- 25 seconds per Hour)

- Operating Temperature Range:-20°C to +80°C

Menu Flowchart

For Salt Solution 5gm NaCl per Litre